## equipment
| CAPEX [€] | incentives [€] | OPEX [€/year] | fuel [€/year] | emissions [€/year] | replacement [€] | total cost [€] in project lifetime
PV1 | 465222.52 | 0 | 17941.39 | 0 | 0 | 0 | 824050.41
BESS1 | 345540 | 0 | 13290 | 0 | 0 | 345540 | 956880
total | 810762.52 | 0 | 31231.39 | 0 | 0 | 345540 | 1780930.41

## grid
grid of load 1 | 274823.05 | 0 | 13222.88 | 0 | 0 | 0
grid of load 2 | 4818.21 | 0 | 276.54 | 0 | 0 | 0
[7 empty] | Islanded: load not supplied cost | 175200000 | €/year

## flexibility costs
EV smart charging [€]
0 | 0
1 | 0
2 | 0
3 | 0
4 | 0
5 | 0
6 | 0
7 | 0
8 | 0
9 | 0
10 | 0
11 | 0
12 | 0
13 | 0
14 | 0
15 | 0
16 | 0
17 | 0
18 | 0
19 | 0
20 | 0
21 | 0
22 | 0
23 | 0
24 | 0
25 | 0
26 | 0
27 | 0
28 | 0
29 | 0
30 | 0
31 | 0
32 | 0
33 | 0
34 | 0
35 | 0
36 | 0
37 | 0
38 | 0
39 | 0
40 | 0
41 | 0
42 | 0
43 | 0
44 | 0
45 | 0
46 | 0
47 | 0
48 | 0
49 | 0
50 | 0
51 | 0
52 | 0
53 | 0
54 | 0
55 | 0
56 | 0
57 | 0
58 | 0
59 | 0
60 | 0
61 | 0
62 | 0
63 | 0
64 | 0
65 | 0
66 | 0
67 | 0
68 | 0
69 | 0
70 | 0
71 | 0
72 | 0
73 | 0
74 | 0
75 | 0
76 | 0
77 | 0
78 | 0
79 | 0
80 | 0
81 | 0
82 | 0
83 | 0
84 | 0
85 | 0
86 | 0
87 | 0
88 | 0
89 | 0
90 | 0
91 | 0
92 | 0
93 | 0
94 | 0
95 | 0
96 | 0
97 | 0
98 | 0
99 | 0
100 | 0
101 | 0
102 | 0
103 | 0
104 | 0
105 | 0
106 | 0
107 | 0
108 | 0
109 | 0
110 | 0
111 | 0
112 | 0
113 | 0
114 | 0
115 | 0
116 | 0
117 | 0
118 | 0
119 | 0
120 | 0
121 | 0
122 | 0
123 | 0
124 | 0
125 | 0
126 | 0
127 | 0
128 | 0
129 | 0
130 | 0
131 | 0
132 | 0
133 | 0
134 | 0
135 | 0
136 | 0
137 | 0
138 | 0
139 | 0
140 | 0
141 | 0
142 | 0
143 | 0
144 | 0
145 | 0
146 | 0
147 | 0
148 | 0
149 | 0
150 | 0
151 | 0
152 | 0
153 | 0
154 | 0
155 | 0
156 | 0
157 | 0
158 | 0
159 | 0
160 | 0
161 | 0
162 | 0
163 | 0
164 | 0
165 | 0
166 | 0
167 | 0
168 | 0
169 | 0
170 | 0
171 | 0
172 | 0
173 | 0
174 | 0
175 | 0
176 | 0
177 | 0
178 | 0
179 | 0
180 | 0
181 | 0
182 | 0
183 | 0
184 | 0
185 | 0
186 | 0
187 | 0
188 | 0
189 | 0
190 | 0
191 | 0
192 | 0
193 | 0
194 | 0
195 | 0
196 | 0
197 | 0
198 | 0
199 | 0
200 | 0
201 | 0
202 | 0
203 | 0
204 | 0
205 | 0
206 | 0
207 | 0
208 | 0
209 | 0
210 | 0
211 | 0
212 | 0
213 | 0
214 | 0
215 | 0
216 | 0
217 | 0
218 | 0
219 | 0
220 | 0
221 | 0
222 | 0
223 | 0
224 | 0
225 | 0
226 | 0
227 | 0
228 | 0
229 | 0
230 | 0
231 | 0
232 | 0
233 | 0
234 | 0
235 | 0
236 | 0
237 | 0
238 | 0
239 | 0
240 | 0
241 | 0
242 | 0
243 | 0
244 | 0
245 | 0
246 | 0
247 | 0
248 | 0
249 | 0
250 | 0
251 | 0
252 | 0
253 | 0
254 | 0
255 | 0
256 | 0
257 | 0
258 | 0
259 | 0
260 | 0

## optimization indicators
total investment | 1156302.52 | €
annual costs | 175524585.14 | €/year
Payback |  | years
ROI |  | %

## CashFlow (€)
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
PV CAPEX | 465222.52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESS CAPEX | 345540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV incentives | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESS incentives | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV replacements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESS replacements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 345540 | 0 | 0 | 0 | 0 | 0
PV OPEX | 0 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39
BESS OPEX | 0 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290
BESS degradation | 0 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06
Grid buy energy costs | 0 | 279641.27 | 279641.27 | 279641.27 | 279641.27 | 279641.27 | 279641.27 | 279641.27 | 279641.27 | 279641.27 | 279641.27 | 279641.27 | 279641.27 | 279641.27 | 279641.27 | 279641.27 | 279641.27 | 279641.27 | 279641.27 | 279641.27 | 279641.27
Grid sell energy incomes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grid hired power costs | 0 | 13499.41 | 13499.41 | 13499.41 | 13499.41 | 13499.41 | 13499.41 | 13499.41 | 13499.41 | 13499.41 | 13499.41 | 13499.41 | 13499.41 | 13499.41 | 13499.41 | 13499.41 | 13499.41 | 13499.41 | 13499.41 | 13499.41 | 13499.41
Grid power penalization costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grid emisions costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Loads flexibility cost | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Loads not supplied cost | 0 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000
Cash Flow nominal | 810762.52 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175870125.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14
Cash Flow discounted | 810762.52 | 162522764.01 | 150484040.75 | 139337074.77 | 129015809.97 | 119459083.31 | 110610262.32 | 102416909.56 | 94830471.81 | 87805992.42 | 81301844.83 | 75279485.96 | 69703227.74 | 64540025.68 | 59759283.04 | 55441598.1 | 51233953.22 | 47438845.58 | 43924857.02 | 40671163.9 | 37658485.1
Cumulative Cash Flow nominal | 810762.52 | 176335347.66 | 351859932.8 | 527384517.93 | 702909103.07 | 878433688.2 | 1053958273.34 | 1229482858.48 | 1405007443.61 | 1580532028.75 | 1756056613.88 | 1931581199.02 | 2107105784.15 | 2282630369.29 | 2458154954.43 | 2634025079.56 | 2809549664.7 | 2985074249.83 | 3160598834.97 | 3336123420.1 | 3511648005.24
Cumulative Cash Flow discounted | 810762.52 | 163333526.54 | 313817567.29 | 453154642.07 | 582170452.04 | 701629535.35 | 812239797.67 | 914656707.23 | 1009487179.05 | 1097293171.47 | 1178595016.3 | 1253874502.26 | 1323577730 | 1388117755.68 | 1447877038.72 | 1503318636.82 | 1554552590.04 | 1601991435.62 | 1645916292.64 | 1686587456.54 | 1724245941.64

## CashFlow desglosado (€)
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
PV1 CAPEX | 465222.52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESS1 CAPEX | 345540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV1 incentives | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESS1 incentives | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV1 replacements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESS1 replacements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 345540 | 0 | 0 | 0 | 0 | 0
PV1 OPEX | 0 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39 | 17941.39
BESS1 OPEX | 0 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290 | 13290
BESS1 degradation | 0 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06 | 213.06
grid of load 1 buy energy costs | 0 | 274823.05 | 274823.05 | 274823.05 | 274823.05 | 274823.05 | 274823.05 | 274823.05 | 274823.05 | 274823.05 | 274823.05 | 274823.05 | 274823.05 | 274823.05 | 274823.05 | 274823.05 | 274823.05 | 274823.05 | 274823.05 | 274823.05 | 274823.05
grid of load 2 buy energy costs | 0 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21
grid of load 1 sell energy incomes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
grid of load 2 sell energy incomes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
grid of load 1 hired power costs | 0 | 13222.88 | 13222.88 | 13222.88 | 13222.88 | 13222.88 | 13222.88 | 13222.88 | 13222.88 | 13222.88 | 13222.88 | 13222.88 | 13222.88 | 13222.88 | 13222.88 | 13222.88 | 13222.88 | 13222.88 | 13222.88 | 13222.88 | 13222.88
grid of load 2 hired power costs | 0 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54
grid of load 1 power penalization costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
grid of load 2 power penalization costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
grid of load 1 emisions costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
grid of load 2 emisions costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Loads flexibility cost | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Loads not supplied cost | 0 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000
Cash Flow nominal | 810762.52 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175870125.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14
Cash Flow discounted | 810762.52 | 162522764.01 | 150484040.75 | 139337074.77 | 129015809.97 | 119459083.31 | 110610262.32 | 102416909.56 | 94830471.81 | 87805992.42 | 81301844.83 | 75279485.96 | 69703227.74 | 64540025.68 | 59759283.04 | 55441598.1 | 51233953.22 | 47438845.58 | 43924857.02 | 40671163.9 | 37658485.1
Cumulative Cash Flow nominal | 810762.52 | 176335347.66 | 351859932.8 | 527384517.93 | 702909103.07 | 878433688.2 | 1053958273.34 | 1229482858.48 | 1405007443.61 | 1580532028.75 | 1756056613.88 | 1931581199.02 | 2107105784.15 | 2282630369.29 | 2458154954.43 | 2634025079.56 | 2809549664.7 | 2985074249.83 | 3160598834.97 | 3336123420.1 | 3511648005.24
Cumulative Cash Flow discounted | 810762.52 | 163333526.54 | 313817567.29 | 453154642.07 | 582170452.04 | 701629535.35 | 812239797.67 | 914656707.23 | 1009487179.05 | 1097293171.47 | 1178595016.3 | 1253874502.26 | 1323577730 | 1388117755.68 | 1447877038.72 | 1503318636.82 | 1554552590.04 | 1601991435.62 | 1645916292.64 | 1686587456.54 | 1724245941.64

## CashFlow comparison (€)
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Costs of the current case (+) | 810762.52 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175870125.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14
Operating costs of the reference case (-) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash Flow nominal | 810762.52 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175870125.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14 | 175524585.14
Cash Flow discounted | 810762.52 | 162522764.01 | 150484040.75 | 139337074.77 | 129015809.97 | 119459083.31 | 110610262.32 | 102416909.56 | 94830471.81 | 87805992.42 | 81301844.83 | 75279485.96 | 69703227.74 | 64540025.68 | 59759283.04 | 55441598.1 | 51233953.22 | 47438845.58 | 43924857.02 | 40671163.9 | 37658485.1
Cumulative Cash Flow nominal | 810762.52 | 176335347.66 | 351859932.8 | 527384517.93 | 702909103.07 | 878433688.2 | 1053958273.34 | 1229482858.48 | 1405007443.61 | 1580532028.75 | 1756056613.88 | 1931581199.02 | 2107105784.15 | 2282630369.29 | 2458154954.43 | 2634025079.56 | 2809549664.7 | 2985074249.83 | 3160598834.97 | 3336123420.1 | 3511648005.24
Cumulative Cash Flow discounted | 810762.52 | 163333526.54 | 313817567.29 | 453154642.07 | 582170452.04 | 701629535.35 | 812239797.67 | 914656707.23 | 1009487179.05 | 1097293171.47 | 1178595016.3 | 1253874502.26 | 1323577730 | 1388117755.68 | 1447877038.72 | 1503318636.82 | 1554552590.04 | 1601991435.62 | 1645916292.64 | 1686587456.54 | 1724245941.64

## KPI
Discount rate (input) | 8 | %
Net Present Cost nominal | 3511648.01 | k€
Net Present Cost discounted | 1724245.94 | k€
Total Annualized Cost nominal | 357669.11 | k€/year
Total Annualized Cost discounted | 175618.26 | k€/year
Assets operating cost | 31.23 | k€/year
Grid operating cost | 293.14 | k€/year
Total operating cost | 175524.59 | k€/year
total electricity served | 3363574.74 | kWh
Grid CO2 emissions | 0 | kg CO2/year
Self-consumption | 100 | %
Self-production | 39.51 | %
Electrical renewable fraction | 44.17 | %
ROI nominal | -21656.45 | %
ROI discounted | -10633.48 | %
Payback nominal | payback > L_prj | years
Payback discounted | payback > L_prj | years
LCOE nominal | 106.34 | €/kWh
LCOE discounted | 52.21 | €/kWh]