## PV
| name | PV installed power (new) [kW]
1 | PV1 | 581.53

## Battery
| name | Number of BESS installed (new) [u] | BESS storage capacity installed (new) [kWh] | BESS charging power installed (new) [kW] | BESS discharging power installed (new) [kW]
1 | BESS1 | 1329 | 1329 | 1329 | 1329

## other
Power is injected to the grid? (1: yes, 0: no) | {np.int64(1): 0.0, np.int64(2): 0.0}

## P_hired
| name | P1 [kW] | P2 [kW] | P3 [kW] | P4 [kW] | P5 [kW] | P6 [kW]
1 | grid of load 1 | 563.3 | 777.79
2 | grid of load 2 | 10 | 10 | 10 | 10 | 10 | 10