## equipment
| CAPEX [€] | incentives [€] | OPEX [€/year] | fuel [€/year] | emissions [€/year] | replacement [€] | total cost [€] in project lifetime
PV1 | 387569.6 | 0 | 16582.47 | 0 | 0 | 0 | 719218.96
BESS1 | 349180 | 0 | 13430 | 0 | 0 | 349180 | 966960
total | 736749.6 | 0 | 30012.47 | 0 | 0 | 349180 | 1686178.96

## grid
grid of load 1 | 273135.49 | 0 | 12938.92 | 0 | 0 | 0
grid of load 2 | 4818.21 | 0 | 276.54 | 0 | 0 | 0
[7 empty] | Islanded: load not supplied cost | 175200000 | €/year

## flexibility costs
EV smart charging [€]
0 | 0

## optimization indicators
total investment | 1085929.6 | €
annual costs | 175521396.93 | €/year
Payback |  | years
ROI |  | %

## CashFlow (€)
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
PV CAPEX | 387569.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESS CAPEX | 349180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV incentives | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESS incentives | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV replacements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESS replacements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 349180 | 0 | 0 | 0 | 0 | 0
PV OPEX | 0 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47
BESS OPEX | 0 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430
BESS degradation | 0 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3
Grid buy energy costs | 0 | 277953.7 | 277953.7 | 277953.7 | 277953.7 | 277953.7 | 277953.7 | 277953.7 | 277953.7 | 277953.7 | 277953.7 | 277953.7 | 277953.7 | 277953.7 | 277953.7 | 277953.7 | 277953.7 | 277953.7 | 277953.7 | 277953.7 | 277953.7
Grid sell energy incomes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grid hired power costs | 0 | 13215.46 | 13215.46 | 13215.46 | 13215.46 | 13215.46 | 13215.46 | 13215.46 | 13215.46 | 13215.46 | 13215.46 | 13215.46 | 13215.46 | 13215.46 | 13215.46 | 13215.46 | 13215.46 | 13215.46 | 13215.46 | 13215.46 | 13215.46
Grid power penalization costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grid emisions costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Loads flexibility cost | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Loads not supplied cost | 0 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000
Cash Flow nominal | 736749.6 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175870576.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93
Cash Flow discounted | 736749.6 | 162519811.97 | 150481307.38 | 139334543.87 | 129013466.55 | 119456913.47 | 110608253.21 | 102415049.27 | 94828749.33 | 87804397.52 | 81300368.08 | 75278118.59 | 69701961.66 | 64538853.39 | 59758197.58 | 55441740.53 | 51233022.62 | 47437983.9 | 43924059.17 | 40670425.16 | 37657801.07
Cumulative Cash Flow nominal | 736749.6 | 176258146.53 | 351779543.46 | 527300940.39 | 702822337.33 | 878343734.26 | 1053865131.19 | 1229386528.12 | 1404907925.05 | 1580429321.98 | 1755950718.91 | 1931472115.84 | 2106993512.78 | 2282514909.71 | 2458036306.64 | 2633906883.57 | 2809428280.5 | 2984949677.43 | 3160471074.36 | 3335992471.3 | 3511513868.23
Cumulative Cash Flow discounted | 736749.6 | 163256561.57 | 313737868.96 | 453072412.83 | 582085879.38 | 701542792.85 | 812151046.06 | 914566095.34 | 1009394844.66 | 1097199242.19 | 1178499610.27 | 1253777728.86 | 1323479690.51 | 1388018543.9 | 1447776741.48 | 1503218482.01 | 1554451504.62 | 1601889488.53 | 1645813547.7 | 1686483972.86 | 1724141773.93

## CashFlow desglosado (€)
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
PV1 CAPEX | 387569.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESS1 CAPEX | 349180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV1 incentives | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESS1 incentives | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV1 replacements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESS1 replacements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 349180 | 0 | 0 | 0 | 0 | 0
PV1 OPEX | 0 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47 | 16582.47
BESS1 OPEX | 0 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430 | 13430
BESS1 degradation | 0 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3 | 215.3
grid of load 1 buy energy costs | 0 | 273135.49 | 273135.49 | 273135.49 | 273135.49 | 273135.49 | 273135.49 | 273135.49 | 273135.49 | 273135.49 | 273135.49 | 273135.49 | 273135.49 | 273135.49 | 273135.49 | 273135.49 | 273135.49 | 273135.49 | 273135.49 | 273135.49 | 273135.49
grid of load 2 buy energy costs | 0 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21 | 4818.21
grid of load 1 sell energy incomes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
grid of load 2 sell energy incomes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
grid of load 1 hired power costs | 0 | 12938.92 | 12938.92 | 12938.92 | 12938.92 | 12938.92 | 12938.92 | 12938.92 | 12938.92 | 12938.92 | 12938.92 | 12938.92 | 12938.92 | 12938.92 | 12938.92 | 12938.92 | 12938.92 | 12938.92 | 12938.92 | 12938.92 | 12938.92
grid of load 2 hired power costs | 0 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54 | 276.54
grid of load 1 power penalization costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
grid of load 2 power penalization costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
grid of load 1 emisions costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
grid of load 2 emisions costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Loads flexibility cost | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Loads not supplied cost | 0 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000 | 175200000
Cash Flow nominal | 736749.6 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175870576.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93
Cash Flow discounted | 736749.6 | 162519811.97 | 150481307.38 | 139334543.87 | 129013466.55 | 119456913.47 | 110608253.21 | 102415049.27 | 94828749.33 | 87804397.52 | 81300368.08 | 75278118.59 | 69701961.66 | 64538853.39 | 59758197.58 | 55441740.53 | 51233022.62 | 47437983.9 | 43924059.17 | 40670425.16 | 37657801.07
Cumulative Cash Flow nominal | 736749.6 | 176258146.53 | 351779543.46 | 527300940.39 | 702822337.33 | 878343734.26 | 1053865131.19 | 1229386528.12 | 1404907925.05 | 1580429321.98 | 1755950718.91 | 1931472115.84 | 2106993512.78 | 2282514909.71 | 2458036306.64 | 2633906883.57 | 2809428280.5 | 2984949677.43 | 3160471074.36 | 3335992471.3 | 3511513868.23
Cumulative Cash Flow discounted | 736749.6 | 163256561.57 | 313737868.96 | 453072412.83 | 582085879.38 | 701542792.85 | 812151046.06 | 914566095.34 | 1009394844.66 | 1097199242.19 | 1178499610.27 | 1253777728.86 | 1323479690.51 | 1388018543.9 | 1447776741.48 | 1503218482.01 | 1554451504.62 | 1601889488.53 | 1645813547.7 | 1686483972.86 | 1724141773.93

## CashFlow comparison (€)
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Costs of the current case (+) | 736749.6 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175870576.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93
Operating costs of the reference case (-) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash Flow nominal | 736749.6 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175870576.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93 | 175521396.93
Cash Flow discounted | 736749.6 | 162519811.97 | 150481307.38 | 139334543.87 | 129013466.55 | 119456913.47 | 110608253.21 | 102415049.27 | 94828749.33 | 87804397.52 | 81300368.08 | 75278118.59 | 69701961.66 | 64538853.39 | 59758197.58 | 55441740.53 | 51233022.62 | 47437983.9 | 43924059.17 | 40670425.16 | 37657801.07
Cumulative Cash Flow nominal | 736749.6 | 176258146.53 | 351779543.46 | 527300940.39 | 702822337.33 | 878343734.26 | 1053865131.19 | 1229386528.12 | 1404907925.05 | 1580429321.98 | 1755950718.91 | 1931472115.84 | 2106993512.78 | 2282514909.71 | 2458036306.64 | 2633906883.57 | 2809428280.5 | 2984949677.43 | 3160471074.36 | 3335992471.3 | 3511513868.23
Cumulative Cash Flow discounted | 736749.6 | 163256561.57 | 313737868.96 | 453072412.83 | 582085879.38 | 701542792.85 | 812151046.06 | 914566095.34 | 1009394844.66 | 1097199242.19 | 1178499610.27 | 1253777728.86 | 1323479690.51 | 1388018543.9 | 1447776741.48 | 1503218482.01 | 1554451504.62 | 1601889488.53 | 1645813547.7 | 1686483972.86 | 1724141773.93

## KPI
Discount rate (input) | 8 | %
Net Present Cost nominal | 3511513.87 | k€
Net Present Cost discounted | 1724141.77 | k€
Total Annualized Cost nominal | 357655.44 | k€/year
Total Annualized Cost discounted | 175607.65 | k€/year
Assets operating cost | 30.01 | k€/year
Grid operating cost | 291.17 | k€/year
Total operating cost | 175521.4 | k€/year
total electricity served | 3211315.58 | kWh
Grid CO2 emissions | 0 | kg CO2/year
Self-consumption | 100 | %
Self-production | 37.11 | %
Electrical renewable fraction | 41.87 | %
ROI nominal | -23831.12 | %
ROI discounted | -11701 | %
Payback nominal | payback > L_prj | years
Payback discounted | payback > L_prj | years
LCOE nominal | 111.37 | €/kWh
LCOE discounted | 54.68 | €/kWh]